## Slide 1
Image processing tutorial #5
Fourier filtering and deconvolution

## Slide 2
Real space
Reciprocal space
Time domain
frequency domain
…
…
Fourier transform
Notes: A set of two images

## Slide 3
Fourier transform
Notes: A set of two images

## Slide 4
1 nm
Fourier transform
Si lattice
Fourier Transform (cropped)
0
Low frequency
High frequency

## Slide 5
1 nm
Fourier transform
Si lattice
Fourier Transform (cropped)

## Slide 6
Fourier series decomposition
A function can be decomposed into a infinite series of periodic functions (cosine, sine) base
https://en.wikipedia.org/wiki/Fourier_series#/media/File:Fourier_series_and_transform.gif

## Slide 7
1 nm
FT
+
+
+
+
+
=
Si lattice
Sparse signal in Fourier space
Fourier filtering using a set of spatial periodicities

## Slide 8
Fourier filtering tutorial using Jupyter notebook

## Slide 9
Resolution
“Optical resolution is limited by the diffraction of visible light wavefronts as they pass through the circular aperture at the rear focal plane of the objective.
As a result, the highest achievable point-to-point resolution that can be obtained with an optical microscope is governed by a fundamental set of physical laws (described by Ernst Abbe) that cannot be easily overcome by rational alternations in objective lens or aperture design. These resolution limitations are often referred to as the diffraction barrier, which restricts the ability of optical instruments to distinguish between two objects separated by a lateral distance less than approximately half the wavelength of light used to image the specimen.”

## Slide 10
How we obtain an image at the scope
x - Convolution

## Slide 11
How we obtain an image at the scope
from Vicidomini, Giuseppe; “Three-Dimensional Image Restoration in Fluorescence Microscopy“ (2008)

## Slide 12
Diffraction

## Slide 13
Light diffraction

## Slide 14
Deconvolution
* - Deconvolution
*

## Slide 15
Common Algorithms
Lucy Richardson (most commonly used iterative process)
Maximum likelihood solution - where the division and multiplication are element wise, ⊗ indicates a 2D convolution, and P* is the flipped point spread function.
Deconvolution can also be done using filtered wavelet coefficients.
By computing the wavelet from the point spread function, you find a new transform algorithm and a reconstruction method related to it.
Fast Iterative Shrinkage Thresholding (FISTA) algorithm
https://www.cs.cmu.edu/afs/cs/Web/People/airg/readings/2012_02_21_a_fast_iterative_shrinkage-thresholding.pdf

## Slide 16
Deconvolution tutorial using Fiji